# Section 1

## Getting Started

The functions provided by MC-SPREADSHEET program are available for use when the MC-SS module is installed in the MC5.

When you start the program, a spreadsheet is presented on the screen, ready for you to enter data into.  The maximum allowable size of this spreadsheet depends on the amount of RAM (Random Access Memory) that is set aside as "MEMORY".   In general, you would want to format the RAM in port A as "MEMORY"  so that you could work with a spreadsheet of reasonable size.  You would then need another RAM drive (e.g. in port B) formatted as "FILES" (file system) for storing the spreadsheets you save as files.  If you need additional memory space, simply insert additional RAM modules into your MC5.

A file containing "HELP" messages is provided on a floppy disk that comes with your MC-SS module.   These are not necessary for running the MC-SPREADSHEET program.   However, if you are not familiar with the spreadsheet operations, and would like to see on-screen help messages, follow the instructions in Section 1.2 to load this file into your MC5.

## 1.1  Installing the MC-SS Module

CAUTION:  Make sure you turn off the MC5 before inserting or removing any module.

The MC-SS module may be inserted into port D, E or H of the MC5.  However, it is recommended that you organize the modules so that all the RAM modules are placed next to one another, and the ROM modules are as close to port F as possible.  This will permit you to format several RAM modules as one contiguous block to accommodate a very large file system.

To insert the MC-SS module into a port of the MC5:

- Turn off the MC5.  Place the MC5 face-down and remove all the screws from the back panel.   Put the screws in a safe place.

- Carefully lift the top end of the backpanel up, opening the MC5 case like a clam shell.  Let the backpanel rest in the fully opened position.

- Carefully insert the MC-SS module into the desired port.  (A map of the ports is printed on the backpanel.)  The module can only go into the port one way.   Make sure all the holes on the under-side of the module are lined up with the pins of the port before you press the module down.  When removing a module, hold it firmly at the long ends and pull straight up.  Otherwise, the pins of the module port may be bent and damaged.

- Replace the backpanel and tighten all the screws evenly and firmly.

## 1.2  Installing SS.HNT

If you have an IBM PC or compatible computer, you can transfer the file SS.HNT to a RAM file system of your MC5.  To transfer files between the MC5 and a PC, you will need to connect the MC5 to your PC using the appropriate cable and adapters.  The KERMIT file transfer programs are supplied to you on the floppy disk containing the SS.HNT file.  Copy these into your PC along with SS.HNT.  Another requirement for successful file transfer, the KERMIT.X program, already resides in drive F: of your MC5.

To transfer SS.HNT from the current directory of the PC to drive B: of the MC5, enter on the MC5:

cd b:

kermit r

Then enter on the PC:

kermit send ss.hnt.

At the completion of the transfer, verify that SS.HNT exists on drive B:.

## 1.3  Starting MC-SPREADSHEET

Normally, when you turn on the MC5, the directory listing of the ROS (ROM Operating System) in drive F: is displayed.  You can use one of the following methods to start the MC-SPREADSHEET program:

- Key in ss and press [].

- Press [] to display a listing of drives A: through F:.  Use the direction keys to move the cursor to the drive in which you have installed the MC-SPREADSHEET.  Press [F1] to display the directory listing of this module.  Move the cursor to SS.X and then press [].

- Press [] to display a listing of drives A: through F:.  Use the direction keys to move the cursor to the drive containing the file system you want to save your spreadsheets into.  Press [F1] to go into that drive. Key in ss and press [].

By invoking the MC-SPREADSHEET from the RAM file system you are going to work with, you will not need to specify the drive name when saving or retrieving spreadsheet files. (See Section 2.4.8.)

- Create a script file which contains a line that reads SS.X. Then execute that file.

For example, go into drive B: (that has been previously formatted as "FILES"), then key in:

copy con: ss.s

cd b:

ss.x [F5].

Now, when you key in ss[] from any MC5 file system to execute the script file ss.s, B: will become the current drive and the MC-SPREADSHEET program will be started.

You can also use the built-in editor, MCED, to create the script file.  Go into drive B: (formatted as FILES), then key in MCED ss.s and press [].  Key in the following lines of text.

cd b:
	ss.x

Press [F1][Q][S][] to save the file, then press [F1][Q][E] to exit the text editor.

A script file must have the file extension .s. A special case arises if you name the script file autoexec.s. If you have an autoexec.s file in your MC5, then the commands in that file will be automatically executed whenever the MC5 is turned on. If you would like the MC-SPREADSHEET to be active each time you turn on the MC5, rename ss.s in the above example by using the following keystroke sequence:

ren b:ss.s autoexec.s []

## 1.4  Exiting MC-SPREADSHEET

Before you exit the MC-SPREADSHEET, make sure you have saved the data you would like to retain in the computer's memory. (See Section 2.4.8.)

To terminate the MC-SPREADSHEET program, do one of the following:

- Use the keystroke sequence [SH1][/][Q][Y].  (If function key [F4] is currently labeled with "/", you can use the 3-key sequence [F4][Q][Y] instead.)

- Press [SH1][/]. Then press [4] to move the cursor to the menu command QUIT and press [][Y].

- Break out of the program by pressing one of the following pairs of keys simultaneously:

[F2] and [ON] to exit MC-SPREADSHEET.

[F3] and [ON] to restart the MC5 operating system.

## 1.5  Turning off the MC5

Following are two methods for turning off the MC5 while the MC-SPREADSHEET is active:

- From the READY mode (See Section 2.1.), press [SH1][/]O. This turns off the MC5 from within the MC-SPREADSHEET.  When you turn on the machine by pressing [ON] again, you are where you were before in the MC-SPREADSHEET.

- Exit MC-SPREADSHEET by using one of the methods described in Section 1.4. (This normally takes you out to the MC5 operating system.)  Then press [¿][F5].

To conserve power, the MC5 will turn itself off after a few minutes of inactivity.

NOTE:  If you turn off MC5 from the operating system, some characteristics will be reset to their default values when you turn the MC5 on again.

## 1.6  Shifted Keys

Most of the keys on the MC5 keyboard are multi-functional.  The labels for these functions are printed on the keys or directly above them.  In many cases, there are three labels associated with a single key.  To access a function whose label is printed above a key, you need to first press a "shift" key.  Use [SH1] for the white function labels, and [SH2] for the gold function labels.  For example, to obtain "(", you need to key in [SH1][(].

On the MC5, the numerals and arithmetic operators are shifted keys; i.e. each key press needs to be preceded by a "shift" key.  You can toggle into num-lock mode by pressing [SH1][NUM].  Then you can enter a series of numerals without pressing a "shift" key.  To toggle out of num-lock mode, press [SH1][NUM] again.

If you own an MC5-N, the numerals and arithmetic operators are assigned to dedicated keys so that they are always directly accessible.  The [NUM] key is absent from the MC5-N keyboard.